HOMEWORK 4  2001 summer 09  NAME……………………………………………………………..

h=6.63 10-34 Js                                  c=2.9979 10 8 m/s

1. The total energy of  three (3) monochromatic photons is 2.94 10-17 J. What is the wavelength of each photon?

………………………………       ………………    …………………….

2.  Draw a diagram describing a spectrophotometer instrument configuration for emission and excitation measurements. Show the four main parts of the system:

3. Absorbance is A = 0.412 . What is the transmittance T in % ?

……………………………………………………..

4.   A sample with an unknown quantity of an analyte with a molecular mass of 71.24g/mol was dissolved in 250mL of ethanol. Then 5.0mL was withdrawn and diluted to 200mL. The spectrum of this solution exhibited a maximum absorbance of  0.642 units at  554nm in a 2cm cell. The molecular absorbance , e, is 423 M-1cm-1. What is the mass of the analyte in grams?

5. Which of the following corresponds to each other?

a) IR LIGHT

b) VISIBLE LIGHT

c) microwaves and RF waves

d) X-rays

write the corresponding letters a-e in empty space down here:

……………………………….molecular  rotations

………………………………molecular vibrations

………………………………valence electros transitions

……………………………….inner electrons transitions

6. After you fill a cuvette with the solution you need to do these two operations:

…a)…………

…b) …………

7. Which is CORRECT

a)   A yellow photon has more energy than a green one.

b)  A gamma photon is about 0.001m long

c)  Emission is a process where a photon is generated

d)   Spectrometry can be used only for qualitative chemical analysis

e) None is correct

8.  You perform calibration for absorbance measurement with a standard solution that shows following transmittance for these concentrations:

T (transmittance %) :                Concentration of analyte:

51.23                                        Blank no analyte

39.81                                         0.01M

31.62                                         0.02M

25.12                                         0.03M

19.95                                         0.04M

15.85                                         0.05M

Write down the values for x and y that will be used to obtain calibration curve by using a liner square fit program:

Draw a simple figure with points (x,y) and a linear calibration curve

Using that figure and your calibration function line show on the figure what is approximately the concentration for the unknown that has absorbance  A= 0.3.

9. Explain why it is that molecules have broad absorption spectra and atoms not

10.  Why is it that a double-beam instrument gives “better” data? That is, why is it that a double-beam instrument gives better responses than a single-beam instrument?

11.  Draw a block diagram for a simple, fluorescence spectrometer.  Make sure to label all components (do not use acronyms). Note: you should be able to do this for all other spectral techniques we have discussed in this section of material.

12. What kind of source, wavelength selector, solvent, cuvette and detector would you choose for the following experiment. You wish to measure the absorbance of a band at 280 nm for a water-soluble protein (this electronic transition is associated with aromatic transitions) as a function of time as it is degraded by an enzyme that destroys aromatic molecules. The kinetics of the degradation reaction are known to be exceedingly fast.

13. You are in the lab and you make absorbance measurements of an analyte at a series of concentrations ranging from 0.08 absorbance units to 1.95 absorbance units (10 different concentrations).  You then measure the absorbance of two unknowns and find the absorbance values to be 0.05 and 5.00.  Your lab mate tells you that there is something wrong with just using the linear least squares equation from the calibration curve and placing the absorbance values of the unknowns in the equation to find the concentrations of the two unknowns.  Why is this?  What are all of the possibilities? How would you correct these situations?