CHEM 2001   pre- EXAM    2

NAME:………………………………………………………

Constants   h=6.626 10-34 Js   ,         c= 2.9979 108 m/s

What is TRUE  or   NOT TRUE

  - Fluorescence is a singlet to triplet transition

TRUE  or   NOT TRUE

  - Fluorescence has a large S/N ratio

TRUE  or   NOT TRUE

  - Absorbance is usually measured using two monochromators

TRUE  or   NOT TRUE

  - Fluorescence signal is at the longer wavelength than absorbance signal

TRUE  or   NOT TRUE

  - Fluorescence calibration function is a linear regression curve between the concentrations and the signal values at the highest peak value for any wavelength

TRUE  or   NOT TRUE

  - Draw the  basic configuration of an FTIR  instrument

Drawing……………………………

7) Choose (circle) from the list below all that  is NOT USED in FTIR  spectroscopy:

a) hot wire

b) Hz

c) monochromator

d) excited  electronic states

e)  prism

- Name the main source of the stray light

………………………………………..

Which is TRUE: answer TRUE   or    NOT TRUE

9)   A blue photon has more energy than a green one.

TRUE   or    NOT TRUE

10)  An IR photon is about 1000 cm long

TRUE   or    NOT TRUE

11)  Phosphorence is a slower luminescence process

TRUE   or    NOT TRUE

12) Spectrometry can be used only for qualitative chemical analysis

TRUE   or    NOT TRUE

The light of a source has a wavelength of 5 nm. What is:

13)  the frequency of 5nm light …………………………….  Units:……………….

14)  the energy of 5 nm light ……………………….     Units:……………

15)  Where is that 5nm wavelength positioned in the spectrum (choose : gamma, X-ray, UV, VIS , IR, microwave , RF):………………..

- What is the process that produces that 5nm light (examples: nuclear vibrations, rotations, inner electron transitions, outer electron transitions:

……………………….

- Calculate the absorbance A from transmittance T= 5%.

A = …………………………………………

18) Is absorbance A in the problem (17) in the best region for the quantitative spectroscopic measurements:

YES                  NO

19) A sample of a dye solution has an absorbance of 0.882 at 240nm in a quartz cuvet with 2cm path-length.

Find the concentration of the dye if molar absorptivity is e240 = 4680M-1cm-1.

……………………………………….             Units……………….

- What is the name of the process that allows radiationless spin forbidden transition by allowing transition between different spin states

……….

- Why is fluorescence a very sensitive spectrophotometric method

…………………………..

- Name three devices that can be used to separate (make monochromatic) different wavelengths from a white light source

………………………………………

……………………………………..

…………………………………...

23)   In emission   spectrum ………………………………………..is constant.

24)    In excitation spectrum………………………………………..is constant.

25)  What is the difference between spins of a singlet and a triplet?

………………………………………………

………………………………………………

- What is the energy of CO stretch?

……………………………………….

- Draw and describe basic components of  a  HC lamp

…………………………………………..

- What is a  nebulizer?

…………………………………………………………………………..

- Why is the temperature of ICP spectroscopy important?

………………………………………………………………

30) You perform calibration for absorbance measurement with a standard solution that shows following transmittance for these concentrations:

T (transmittance %) :                                         Concentration of analyte:

63.22                                                                               0.00M

25.11                                                                               0.4M

15.85                                                                               0.6M

10.00                                                                               0.8M

Write down the values for x and y that will be used to obtain calibration curve by using a liner square fit program:

Draw a simple figure with points (x,y) and a linear calibration curve

Using that figure and your calibration function line show on the figure what is the concentration for the unknown that has absorbance  A= 0.55.