FTIR Experiment

Which molecular motion contributes to the FTIR?

Why you cannot use water in this experiment?

What compounds did you measure?

Were the spectra you obtained in the absorbance or transmittance?

Look at the Figure in the website FTIR instructions (left of the quiz) and try to

convert one of your peaks from the transmittance to absorbance ( ask TA to print you the FTIR spectrum and identify one known peak)

List Supplies:

Describe Salt plates and their function

Describe the Salt plate holder

Describe how you used the Disposable Pasteur pipettes

Why do you need  Volumetric flask (10 ml)

Syringe

Experimental Procedure

How and why did you take the background spectrum?

Which compound  can easily change your background spectrum?

How did you clean salt plates and why?

What dilution factor did you use if any?

What do the peaks represent in an IR spectrum?

How is the identification of the peaks in an IR spectrum  done?

What is the red light you see when you open the instrument’s small top cover? ( not the sample chamber)

What is th moving part?

What is the detector?

What is the light source?

Why is interferometer  used here?